Data Format Gepulse – Version 3.0 as of 12/07/22

7 bytes: “GePulse”

4 bytes		int Version

4 bytes		int DataFormat // Normally 0, meaning 2 bytes per data point

4 bytes		int NSeries

// Following repeated for NSeries times

4 bytes		int SweepType : 0: Pulsed; 1: GapFree

if SweepType==1 //i.e. GapFree

4 bytes 	int lengthlist /// a list of events, like e.g. changes in vhold, etc.

// Following repeated for lengthlist times

4 bytes		int index

4 bytes		int GapFreeParamType // 0: VHold; 1: Comment

8 bytes		double VHold // new value

4 bytes		int L

L bytes	char * comment

8 bytes		double datafactor

800 bytes	unused

// end repeat

endif

4 bytes		int NumberOfChannels

4 bytes 	int NumberOfSweeps

// Following repeated for NumberOfSweeps times

18 bytes SystemTime (see definition below)

4 bytes int StimCount

4 bytes int SweepCount

4 bytes int AverageCount

4 BOOL Leak // i.e. if 0: no leak pulses

4 bytes	int L

L bytes char * Label

4 bytes int NDataPoints

4 bytes int DataSizeInBytes // normally 2

8 bytes double CSlow

8 bytes double GSeries

8 bytes double Rsvalue

8 bytes double Rsfraction

8 bytes double ZeroCurrent

8 bytes double OnlineXResult

8 bytes double OnlineYResult

4 bytes int TotalPoints

4 bytes int Offset

8 bytes double Temperature

72 bytes unused

// Calculate: S = DataSizeInBytes*DataPoints;

// Repeat following NChannels times

S bytes 	data

if LeakPresent

S bytes		leakdata

Endif

// end repeat

// end repeat (reading sweeps)

4 bytes BOOL StimPresent

if  StimPresent

4 bytes int  NumberOfSegments

// Following repeated for NumberOfSegments times

4 bytes int SegmentClass // normally 0, ramp = 1

4 bytes BOOL IsHolding

8 bytes double Voltage

8 bytes double Duration

8 bytes double DeltaVFactor

8 bytes double DeltaVIncrement

8 bytes double DeltaTFactor

8 bytes double DeltaTIncrement

4 bytes int NumberOfPointsInWaveForm

16 bytes unused

8*NumberOfPointsInWaveForm bytes double array WaveForm (in mV)

;

// end for NumberOfSegments times

4 bytes int L

L bytes char * EntryName

8 bytes double SampleInterval

8 bytes double FilterFactor

8 bytes double SweepInterval

4 bytes int NumberSweeps

4 bytes int NumberRepeats

8 bytes double RepeatWait

4 bytes int L

L bytes char * LinkedSequence

8 bytes double LinkedWait

4 bytes int LeakCount

8 bytes double LeakSize

8 bytes double LeakHolding

4 bytes BOOL LeakAlternate

4 bytes BOOL AltLeakAveraging

8 bytes double LeakDelay

4 bytes int NumberOfTriggers // unused!!!

4 bytes int RelevantXSegment

4 bytes int RelevantYSegment

4 bytes BOOL WriteEnabled

4 bytes int IncrementMode

4 bytes int RelevantYSegment2

4 bytes int MaxSweepLength

4 bytes int InputChannels

4 bytes int GUpdate

4 bytes BOOL RelAbsPot

4 bytes BOOL HasContinuouse

4 bytes int DirectionManipulator

4 bytes int StimDac

// Repeat the following 16 times

4 bytes int Adc

2 bytes char * YUnit

// end repeat 16 times

16 bytes unused

4 bytes BOOL WaitBeforeFirst

end if // StimPresent

18 bytes SystemTime (see definition below)

8 bytes double Bandwidth

8 bytes double PipettePotential  // unused

8 bytes double VHold

8 bytes double PipetteResistance

8 bytes double SealResistance

8 bytes unused

8 bytes double Temperature

8 bytes unused

8 bytes double UserParam1Value

8 bytes double UserParam2Value

// Repeat the following 14 times

1 byte UserParam1Name[i]

1 byte UserParam2Name[i]

// end

// Repeat the following 2 times

1 byte UserParam1Unit[i]

1 byte UserParam2Unit[i]

// end

// Repeat the following 16 times

8 bytes double DataFactor[i]

// end

4 bytes int NumAveraged

4 bytes int RecordingMode // 0 =InsideOut, 1=OnCell, 2=OutsideOut, 3=WholeCell, 4=VoltageClamp

4 bytes int L

L bytes char * Comment

80 bytes unused

// end repeat for NSeries times

18 bytes SystemTime (see definition below)

4 bytes int L

L bytes char * Lable

4 bytes int L

L bytes char * Comment

400 bytes unused

/// ******  END END END OF OF OF DATA DATA DATA FILE FILE FILE ****** ///

**********************************************

Definition of system times (total 18 bytes)

2 bytes		Day

2 bytes		DayOfWeek

2 bytes		Hour

2 bytes		Milliseconds

2 bytes		Minute

2 bytes		Minute

2 bytes		Month

2 bytes		Second

2 bytes		Year

************************************************